## gen
Bus # | 4 | 6 | 9 | 11 | 13 | 15 | 18 | 30 | 35 | 36 | 40 | 43 | 45 | 47 | 65 | 70 | 77 | 79 | 103 | 112 | 116 | 118 | 138 | 140 | 144 | 148 | 149 | 159 | 162
Gen id | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
type | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU | GENROU
T'd0 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
T''d0 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
T'q0 | bar: GENROU to GENROU
T''q0 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
H | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Xd | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4 | 1.4
Xq | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35
X'd | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
X'q | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
X''d=X''q | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Xl | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
S(1.0) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S(1.2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ra | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005

## exc
Bus # | 4 | 6 | 9 | 11 | 13 | 15 | 18 | 30 | 35 | 36 | 40 | 43 | 45 | 47 | 65 | 70 | 77 | 79 | 103 | 112 | 116 | 118 | 138 | 140 | 144 | 148 | 149 | 159 | 162
Gen id | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
type | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS | SEXS
TA_o_TB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TB | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
K | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
TE | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Emin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Emax | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3

## gov
Bus # | 4 | 6 | 9 | 11 | 13 | 15 | 18 | 30 | 35 | 36 | 40 | 43 | 45 | 47 | 65 | 70 | 77 | 79 | 103 | 112 | 116 | 118 | 138 | 140 | 144 | 148 | 149 | 159 | 162
Gen id | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
type | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST | GAST
R | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08
T1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
T2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
T3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Ambient temperature load limit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
KT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
VMAX | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
VMIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dturb | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## pss
Bus # | 4 | 6 | 9 | 11 | 13 | 15 | 18 | 30 | 35 | 36 | 40 | 43 | 45 | 47 | 65 | 70 | 77 | 79 | 103 | 112 | 116 | 118 | 138 | 140 | 144 | 148 | 149 | 159 | 162
Gen id | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
type | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST | IEEEST
A1 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013
A2 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013
A3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
A5 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013 | 1.013
A6 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113 | 0.113
T1 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
T2 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
T3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T5 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65
T6 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65
KS | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
LSMAX | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
LSMIN | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1
VCU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VCL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## regca
Bus | 39
ID | RE'
LVPL switch, 0: LVPL not present, 1: LVPL present | 1
Tg, Converter time constant, second | 0.02
Rrpwr, LVPL ramp rate limit (pu/s) | 10
Brkpt, LVPL voltage 2 (pu) | 0.9
Zerox, LVPL voltage 1 (pu) | 0.4
Lvpl1, LVPL gail (pu) | 1.22
Volim, Voltage limit for High Voltage Reactive Current Management, pu | 1.2
Lvpnt1, High Voltage point for Low Voltage Active Current Management, pu | 0.9
Lvpnt0, High Voltage point for Low Voltage Active Current Management, pu | 0.5
Iolim, Current limit for HVRCM, pu (< 0) | -1.3
Tfltr, Voltage filter time constant for LVRCM (s) | 0.02
Khv, Overvoltage compensation gain used in HVRCM (>=0 and < 1) | 0
Iqrmax, Upper limit on Rate of change for reactive curent (pu/s) | 100
Iqrmin, Lower limit on Rate of change for reactive curent (pu/s) | -100
Accel, Acc. factor for smoothing out voltage & angle calculations (>0 and <=1) | 0.7
fbase | 60
mvabase | 100

## reecb
Bus | 39
ID | RE'
PFFLAG (Power factor flag): 1 - power factor control; 0: Q control | 0
VFLAG: 1 if Q control; 0 voltage control | 1
QFLAG: 1 if voltage/Q control; 0 if pf/Q control | 0
PQFLAG: 1 for P priority, 0 for Q priority | 0
Vdip (pu), low voltage threshold for reactive current injection | -99
Vup (pu), high voltage threshold for reactive current injection | 99
Trv (s), Voltage filter time constant | 0.02
dbd1 (pu), Voltage error dead band lower threshold (<=0) | 0
dbd2 (pu), Voltage error dead band upper threshold (>=0) | 0
Kqv (pu), Reactive current injection gain | 0
Iqhl (pu), Upper limit on reactive current injection Iqinj | 1.1
Iqll (pu), Lower limit on reactive current injection Iqinj | -1.1
Vref0 (pu), User defined reference (if 0, initialized by model) | 0
Tp (s), Filter time constant for electrical power | 0.05
QMax (pu), limit for reactive power regulator | 0.44
QMin (pu) limit for reactive power regulator | -0.44
VMAX (pu), Max. limit for voltage control | 1.05
VMIN (pu), Min. limit for voltage control | 0.9
Kqp (pu), Reactive power regulator proportional gain | 0
Kqi (pu), Reactive power regulator integral gain | 0.01
Kvp (pu), Voltage regulator proportional gain | 10
Kvi (pu), Voltage regulator integral gain | 60
Tiq (s), Time constant on delay s4 | 0.02
dPmax (pu/s) (>0) Power reference max. ramprate | 99
dPmin (pu/s) (<0) Power reference min. ramprate | -99
PMAX (pu), Max. power limit | 1
PMIN (pu), Min. power limit | 0
Imax (pu), Maximum allowable total converter current limit | 1.11
Tpord (s), Power filter time constant | 0.02

## repca
Bus | 39
ID | RE'
Remote bus number or 0 for local voltage control | 0
Monitored branch FROM bus | 0
Monitored branch TO bus | 0
Monitored branch ID (enter within single quotes) | '0'
VCFlag, droop flag (0: with droop,1: line drop compensation) | 0
RefFlag, flag for V or Q control(0: Q control, 1: V control) | 0
Fflag, 0: disable frequency control, 1: enable | 1
Tfltr, Voltage or reactive power measurement filter time constant (s) | 0.02
Kp, Reactive power PI control proportional gain (pu) | 18
Ki, Reactive power PI control integral gain (pu) | 5
Tft, Lead time constant (s) | 0
Tfv, Lag time constant (s) | 0.05
Vfrz, Voltage below which State s2 is frozen (pu) | 0
Rc, Line drop compensation resistance (pu) | 0
Xc, Line drop compensation reactance (pu) | 0
Kc, Reactive current compensation gain (pu) | 0.02
emax, upper limit on deadband output (pu) | 0.1
emin, lower limit on deadband output (pu) | -0.1
dbd1, lower threshold for reactive power control deadband (<=0) | -1
dbd2, upper threshold for reactive power control deadband (>=0) | 1
Qmax, Upper limit on output of V/Q control (pu) | 0.43
Qmin, Lower limit on output of V/Q control (pu) | -0.43
Kpg, Proportional gain for power control (pu) | 1
Kig, Proportional gain for power control (pu) | 0.05
Tp, Real power measurement filter time constant (s) | 0.25
fdbd1, Deadband for frequency control, lower threshold (<=0) | -1
fdbd2, Deadband for frequency control, upper threshold (>=0) | 1
femax, frequency error upper limit (pu) | 99
femin, frequency error lower limit (pu) | -99
Pmax, upper limit on power reference (pu) | 1
Pmin, lower limit on power reference (pu) | 0
Tg, Power Controller lag time constant (s) | 0.1
Ddn, droop for over-frequency conditions (pu) | 0
Dup, droop for under-frequency conditions (pu) | 0

## pll
Bus | 39
ID | RE'
ke | 0.69
te | 0.125